# Specification Text

## Automatic Swing Door

Dimensions

Overall width		........... mm

Overall height		........... mm

Passage width		........... mm

Passage height		........... mm

## TORMAX iMotion® 1301 Swing Door Drive

Drive for swing doors, internal and external doors, lintel or door leaf mounting, 
optionally DIN L and DIN R doors.

( _ )	Electromechanical swing door drive with wear-free synchronous motor technology and processor control system, Dimensions 100 x 135 x 640 mm, door leaf weight up to 240 kg at 1 m leaf width (J = 80 kgm2), protective class IP 22, integrated end-stop, power supply: 1 x 230/115 V AC 50 – 60 Hz, power consumption: 
5 – 250 W, ambient temperature –20 °C to +50 °C, motor-driven opening, spring-loaded closing, if required with motor power assistance, integrated open holding, acting as power-free door closer or door opener with motion control.

Control system

Ultra-simple commissioning with manually guided "teach-in" learning program,
 3-position switch or user interface with 7-segment display, two independent motional sequences can be set and controlled, adjustable hold-open time – satisfies low-energy requirement, obstacle recognition (reversing) in both opening and closing directions, automatic opening by manual pushing or pulling ("push and go" function), opening angle 0 – 110° (with standard linkage), safety features can be monitored, feedback signal for door in open or closed position, 8 programmable inputs (expandable), 3 programmable outputs (expandable).

Power transmission: Drive to door

( _ )	Standard linkage, infinitely variable, pushing, for lintel depth 50 … 97 mm

( _ )	Standard linkage, infinitely variable, pushing, for lintel depth 95 … 242 mm

( _ )	Sliding lever pulling

( _ )	Sliding lever, pulling, with panic fitting

( _ )	Connecting shaft, drive – linkage, L = 63 mm (mounting flush with lintel)

( _ )	Connecting shaft, drive – linkage, L = 82 mm (mounting flush with lintel)

( _ )	Connecting shaft, drive – linkage, L = 123 mm (mounting flush with lintel)

## Sensors

Activation

( _ )	Radar

( _ )	Active infrared

( _ )	Passive infrared

( _ )	Contact-free hand switch

( _ )	Manual hand switch

Safety facility

( _ )	Dynamic safety (with/without testing)

( _ )	Static safety (with/without testing)

( _ )	Combined detector/alarm (radar and 3D protective light curtain AIR) with testing

Safety assessment conforming to DIN 18650 recommended.

Within the area of validity of the guidelines for machines 98/37/EG a declaration of conformity is mandatory.

## Accessories

( _ )	User interface with 7-segment display and 2-button operation, 45 x 45 mm suitable for Legrand system

( _ )	3-position mode switch mounted in plastic case 
45 x 45 mm, suitable for Legrand system

( _ )	Bowden wire switch

( _ )	Monitored battery unit for emergency current supply

( _ )	Continuous casing over the full door width

( _ )	Cable set for master/slave connection