Hydro-Brake® Flow Control Specification Clause

| Project Name |  |
| --- | --- |
| Site Location |  |
| Design Flow | l/s |
| Design Head | m |
| TWL | m |
| Outlet Invert Level | m |
| Type of System – (Stormwater, Combined, Foul, New, Existing) |  |
| Application | SUDS Scheme |  |
|  | Adoptable Sewer |  |
|  | Housing |  |
|  | Commercial / Industrial |  |
|  | Highway Drainage |  |
|  | Inlet Works |  |
|  | Other (please specify) |  |
| Adoptable? | Yes / No |
| Type of Storage Required (eg. Ponds/Swales, Oversized Pipes, Box Culverts, Pre-formed Concrete Tanks, Stormcell®, Stormbloc®, Other Plastic Blocks) |  |
| Other Special Options Available | Vortex Suppressor Pipe |  |
|  | Rodding Pipe |  |
|  | Pressure Applications |  |
|  | Dry Mounted |  |
| Vortex flow control shall comply with the following: • Vortex flow control manufactured in grade 304 stainless steel to BS 1449 minimum 3 mm thick (or greater depending on hydraulic head). • Hydro-Brake® Flow Control by Hydro International, Shearwater House, Clevedon Hall Estate, Victoria Road, Clevedon, BS21 7RD, Tel: 01275 878371. • Incorporate a pivoting by-pass door on the front face of the flow control to allow direct access to the downstream pipe, operated from ground level by means of a stainless steel rope. • The design criteria for the unit shall match that specified by the engineer and that shown on the head/discharge curve supplied by the manufacturer. • The ‘flush flow’ and ‘kick’ flow shall match that specified by the engineer as well as that shown on the head/discharge curve supplied by the manufacturer. |
| Please enter any additional comments or design considerations: |